|  | Foundations Installation and Verification Record |
| --- | --- |

PLEASE READ CAREFULLY; This is being provided to you as a tool that you may wish to use in providing a safety and risk management program. You are responsible for providing safety and risk management services. We at Chubb are providing this tool to you in support of our underwriting objectives and we hereby disclaim any obligation to oversee or monitor the adherence to required or otherwise reasonable safety and risk control practices. We further disclaim liability for claims or suits relating to the alleged or actual failure to conduct reasonable safety control practices or relating to the use of or failure to use this document. Please note that neither this tool or any of its components contain every possible operation, inspection requirement or other detail that may be relevant to your project or that may be required by federal or state law, or by local building codes, statutes, or other requirements. This tool is intended only as a guideline, and not as a substitute for consultation with your insurance broker, or for engineering, legal or other professional advice.

| Project Identifier: |  | CM/GC: |  |  |
| --- | --- | --- | --- | --- |
| Owner: |  | Date: |  |  |

|  | Inspection Criteria |  |  |  | Responsible Party(ies) |  |  | Inspected by |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Inspection/Test Category | Description | Yes | No | N/A | Installation Contractor | Contracted with | Comments/Notes | Initial | Date |
| Subcontractor Management | Prior to start of operations, verify the following are in place at a minimum for each selected subcontractor: |  |  |  |  |  |  |  |  |
|  | - Subcontractor pre-qual process that includes at a minimum: review of last 3 yrs. Experience Modification Rate (EMR), OSHA violations, losses, financial status, and safety culture review/assessment. |  |  |  |  |  |  |  |  |
|  | - Signed/executed subcontract agreement. |  |  |  |  |  |  |  |  |
|  | - Contract includes hold harmless and indemnification agreements in your favor (to the extent allowable by law). |  |  |  |  |  |  |  |  |
|  | - Insurance requirements and limits, to include completed operations coverage, meet contract specifications. |  |  |  |  |  |  |  |  |
|  | - Includes primary & non-contributory additional insured status for contractor, its officer/employees, owner & others as required. |  |  |  |  |  |  |  |  |
|  | - Verify valid certificates of insurance and endorsements are in place. |  |  |  |  |  |  |  |  |
|  | - An appropriately rated insurance carrier. |  |  |  |  |  |  |  |  |
|  | - Signed waiver of subrogation for WC/GL is received. |  |  |  |  |  |  |  |  |

|  | Inspection Criteria |  |  |  | Responsible Party(ies) |  |  | Inspected by |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Inspection/Test Category | Description | Yes | No | N/A | Installation Contractor | Contracted with | Comments/Notes | Initial | Date |
|  | - Where required, verify contractor is licensed to work in/for the city and state where project is located. |  |  |  |  |  |  |  |  |
| Approved Shop Drawings and Specifications | - Build in strict compliance with approved specifications and shop drawings. |  |  |  |  |  |  |  |  |
|  | - Stamped approvals from all applicable parties including building department, structural engineer and/or architect are received and maintained. |  |  |  |  |  |  |  |  |
|  | - RFI’s (request for information) are monitored and followed through to verify completion. |  |  |  |  |  |  |  |  |
|  | - Continuous monitoring is conducted as plans change throughout course of project. |  |  |  |  |  |  |  |  |
|  | - Constructability reviews are completed to identify conflicts, verify adequacy of specifications, and ensure the projects is designed and built for the climate it is located in. |  |  |  |  |  |  |  |  |
|  | - Verify communication/coordination btwn contractors. (verify location of stub-ups, risers, slab inserts, anchors, risers, beam penetrations, etc.) |  |  |  |  |  |  |  |  |
|  | - Structural concrete shores & reshores installed per approved drawings & specs. |  |  |  |  |  |  |  |  |
| Survey Operations | Surveys performed for location, design, construction, maintenance, and operation of projects. The following are conducted at a minimum: |  |  |  |  |  |  |  |  |
|  | - Qualified survey crew available in advance of progressing operations. |  |  |  |  |  |  |  |  |
|  | - Marks protected from damage caused by construction operations, general public, erosion, etc. |  |  |  |  |  |  |  |  |
|  | - Marks are well described (visible) for future recovery. |  |  |  |  |  |  |  |  |
|  | - Instrument records are created for each instrument used. |  |  |  |  |  |  |  |  |
|  | - Stakeouts establishing basic line & grade performed just prior to actual construction. |  |  |  |  |  |  |  |  |
|  | - All baseline construction controls are referenced w/rebar, spikes, crosscuts in concrete or other permanent markers. |  |  |  |  |  |  |  |  |
|  | - Verify survey notes/data are good quality (readable). Notes are easily understood, free from ambiguity, confusion, uncertainty, and doubt. |  |  |  |  |  |  |  |  |
|  | Inspection Criteria |  |  |  | Responsible Party(ies) |  |  | Inspected by |  |
| Inspection/Test Category | Description | Yes | No | N/A | Installation Contractor | Contracted with | Comments/Notes | Initial | Date |
|  | - Field notes are complete, field checked, contain all applicable elements, built in self-checks, and required qualities. |  |  |  |  |  |  |  |  |
|  | - All survey data (instrument recorders, Personal Digital Assistants (PDA), field logs/notes, drawings etc.) are turned over to project engineers for review and retention. |  |  |  |  |  |  |  |  |
| Cranes | - Are either mobile and/or tower cranes to be used to facilitate these operations? |  |  |  |  |  |  |  |  |
|  | - If so, has the Chubb “Crane Installation and Verification Record” section been completed? |  |  |  |  |  |  |  |  |
| Equipment / Material Delivery | - Assure all equipment & materials necessary for foundation work is visually inspected to verify compliance with final approved specifications and shop drawings and is damage/defect free upon arrival. |  |  |  |  |  |  |  |  |
|  | - Field modifications are not conducted unless approved by all parties including the structural engineer and the owner in writing. |  |  |  |  |  |  |  |  |
| Welding Operations | Welding Operations are monitored and at a minimum the following are completed: |  |  |  |  |  |  |  |  |
|  | - Verify welders are trained and qualified in accordance with local, state, and federal standards and codes. |  |  |  |  |  |  |  |  |
|  | - Document & verify welder’s qualifications. |  |  |  |  |  |  |  |  |
|  | - Verify a “Hot Work” program is in place that covers fire protection (extinguishers, fire watch), permit and training requirements. |  |  |  |  |  |  |  |  |
|  | - At a minimum, all welds are inspected on a continuous, on-going basis for strength, quality, and completeness. |  |  |  |  |  |  |  |  |
| Foundation Plan | - Foundation plan by structural engineer in place documenting design of foundation, support of excavation systems (SOE), excavations, dewatering systems, slope support systems and substructures. |  |  |  |  |  |  |  |  |

|  | Inspection Criteria |  |  |  | Responsible Party(ies) |  |  | Inspected by |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Inspection/Test Category | Description | Yes | No | N/A | Installation Contractor | Contracted with | Comments/Notes | Initial | Date |
| Pre-Construction Surveys | - Assessment to determine if existing and adjacent properties should be surveyed. |  |  |  |  |  |  |  |  |
|  | - Third party surveys are conducted when buildings or structures are located within the areas of but not limited to, demolition, blasting, pile/sheet driving. |  |  |  |  |  |  |  |  |
|  | - Surveys of adjacent structures include documentation of existing interior and exterior conditions (written reports, photos, videos, etc.) |  |  |  |  |  |  |  |  |
|  | - Vibration monitoring of existing /surrounding structures performed for blasting, underpinning, shoring, or pile driving operations |  |  |  |  |  |  |  |  |
| Blasting Operations and Monitoring | In addition to pre-blast surveys, pre-blast controls include, but are not limited to: |  |  |  |  |  |  |  |  |
|  | - Blasting contractor is licensed and qualified to perform the operation. |  |  |  |  |  |  |  |  |
|  | - Creation and Implementation of written blasting plan. |  |  |  |  |  |  |  |  |
|  | - Notifications to affected parties such as utilities, railroads, properties. |  |  |  |  |  |  |  |  |
|  | - Monitoring movement of existing/adjacent structures. |  |  |  |  |  |  |  |  |
|  | - Third party documented seismic monitoring. |  |  |  |  |  |  |  |  |
|  | - Seismic readings recorded per blast. |  |  |  |  |  |  |  |  |
|  | - Written blasting records per shot. |  |  |  |  |  |  |  |  |
|  | - Proper storage and transportation of explosives. |  |  |  |  |  |  |  |  |
|  | - Posting of warning signs and blasting signals. |  |  |  |  |  |  |  |  |
|  | - Use of two-way radios is prohibited. |  |  |  |  |  |  |  |  |

|  | Inspection Criteria |  |  |  | Responsible Party(ies) |  |  | Inspected by |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Inspection/Test Category | Description | Yes | No | N/A | Installation Contractor | Contracted with | Comments/Notes | Initial | Date |
| Piling Installation | Pile driving ops & final placement of piles is inspected to verify compliance w/ approved drawings and specifications. Documentation includes, but is not limited to: |  |  |  |  |  |  |  |  |
|  | - Depth of piles. |  |  |  |  |  |  |  |  |
|  | - Drilling data. |  |  |  |  |  |  |  |  |
|  | - Behavior. |  |  |  |  |  |  |  |  |
|  | - Blow count. |  |  |  |  |  |  |  |  |
|  | - Equipment used. |  |  |  |  |  |  |  |  |
|  | - Condition of piles. |  |  |  |  |  |  |  |  |
|  | - Observations. |  |  |  |  |  |  |  |  |
|  | - Load testing data. |  |  |  |  |  |  |  |  |
|  | - Engineer’s supervision and verification of all piles performed to confirm each pile is installed per design specification and local building code requirements. |  |  |  |  |  |  |  |  |
| Underpinning | - Underpinning ops, const. of coffer dams, caissons, braced excavated surfaces or other constructions used to support adjacent structures inspected for compliance w/approved drawings & specs. |  |  |  |  |  |  |  |  |
|  | - Plans and drawings are approved by the architect/engineer who prepared the plans. |  |  |  |  |  |  |  |  |
| Dewatering Systems | Dewatering system inspections completed to verify compliance w/approved drawings and specifications. Inspections include but are not limited to: |  |  |  |  |  |  |  |  |
|  | - Verify proper installation and operation. |  |  |  |  |  |  |  |  |
|  | - Assess need for tight barrier walls. |  |  |  |  |  |  |  |  |
|  | - Use of a Piezometer to measure pressure or compressibility of the site and adjacent property subsurface during de-watering (used to measure the pressure of a fluid or the compressibility of a substance when subjected to such a pressure) |  |  |  |  |  |  |  |  |
|  | - Subsidence on existing and adjacent properties. |  |  |  |  |  |  |  |  |
|  | - Controls preventing consolidation and settling of soils under adjacent properties. |  |  |  |  |  |  |  |  |
|  | - Water released permitted, contained & monitored according to local, state & federal regulations. |  |  |  |  |  |  |  |  |
|  | - At a minimum, dewatering systems include sump pumps, deep well and multiple well point systems. |  |  |  |  |  |  |  |  |

|  | Inspection Criteria |  |  |  | Responsible Party(ies) |  |  | Inspected by |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Inspection/Test Category | Description | Yes | No | N/A | Installation Contractor | Contracted with | Comments/Notes | Initial | Date |
| Concrete Construction | Concrete testing & inspection to verify compliance w/ approved drawings and specifications during unit masonry, concrete design and construction is conducted and includes but is not limited to: |  |  |  |  |  |  |  |  |
|  | - Quality of materials. |  |  |  |  |  |  |  |  |
|  | - Anchorages. |  |  |  |  |  |  |  |  |
|  | - Bonding. |  |  |  |  |  |  |  |  |
|  | - Design criteria. |  |  |  |  |  |  |  |  |
|  | - Bearing stresses. |  |  |  |  |  |  |  |  |
|  | - Lateral support. |  |  |  |  |  |  |  |  |
|  | - Design of walls and columns. |  |  |  |  |  |  |  |  |
|  | - Vibration techniques. |  |  |  |  |  |  |  |  |
|  | - Allowable flexural, tension, shear stresses. |  |  |  |  |  |  |  |  |
|  | - Allowable compressive stresses. |  |  |  |  |  |  |  |  |
|  | - Distribution of concentrated loads. |  |  |  |  |  |  |  |  |
|  | - Height and thickness limitations. |  |  |  |  |  |  |  |  |
| Concrete Construction Logbook / Documentation | A logbook maintained daily is available on-site and includes but is not limited to, the following: |  |  |  |  |  |  |  |  |
|  | - Location/size/ dimensions of concrete members. |  |  |  |  |  |  |  |  |
|  | - Time reinforcements installed per member. |  |  |  |  |  |  |  |  |
|  | - Results of field and laboratory testing. |  |  |  |  |  |  |  |  |
|  | - Weather up to 24 hrs. after concrete placement. |  |  |  |  |  |  |  |  |
|  | - Excessive temperature controls. |  |  |  |  |  |  |  |  |
|  | - Weather conditions per placement. |  |  |  |  |  |  |  |  |
|  | - Time when forms were stripped. |  |  |  |  |  |  |  |  |
|  | - Time of tensioning for all pre-stressed members. |  |  |  |  |  |  |  |  |
|  | - Time when shores were re-installed. |  |  |  |  |  |  |  |  |
|  | - Wind velocity/direction. |  |  |  |  |  |  |  |  |
|  | - Air temperature. |  |  |  |  |  |  |  |  |
|  | - Curing method. |  |  |  |  |  |  |  |  |
|  | - Curing time. |  |  |  |  |  |  |  |  |
| Concrete Design Mix | Concrete mixes that are proportioned, mixed, or batched are inspected to verify compliance w/ approved drawings and specifications both on-site and from information obtained from the batch plant. Data includes but is not limited to: |  |  |  |  |  |  |  |  |
|  | - Strength (psi). |  |  |  |  |  |  |  |  |
|  | - Water/cement ratio. |  |  |  |  |  |  |  |  |
|  | - Date. |  |  |  |  |  |  |  |  |
|  | - Water amount. |  |  |  |  |  |  |  |  |
|  | - Cement amount. |  |  |  |  |  |  |  |  |
|  | - Slump. |  |  |  |  |  |  |  |  |
|  | - Laboratory licensing information. |  |  |  |  |  |  |  |  |
|  | - Laboratory analysis data. |  |  |  |  |  |  |  |  |
|  | - Amount of fine and coarse aggregate. |  |  |  |  |  |  |  |  |

|  | Inspection Criteria |  |  |  | Responsible Party(ies) |  |  | Inspected by |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Inspection/Test Category | Description | Yes | No | N/A | Installation Contractor | Contracted with | Comments/Notes | Initial | Date |
|  | - Admixtures such as air-entraining, strength enhancements, accelerators, decelerators, or any other ingredient added to concrete to alter its properties. |  |  |  |  |  |  |  |  |
|  | - Verification and sign-off from architect and or engineer. |  |  |  |  |  |  |  |  |
| Concrete Test Cylinders | Concrete pouring, sampling and compression test cylinders are taken to verify compliance w/ approved drawings and specifications. Report information includes but is not limited to: |  |  |  |  |  |  |  |  |
|  | - Required 28 day breaking strength (psi). |  |  |  |  |  |  |  |  |
|  | - Cylinders for early strength break (7 days). |  |  |  |  |  |  |  |  |
|  | - Test report number. |  |  |  |  |  |  |  |  |
|  | - Date of pour. |  |  |  |  |  |  |  |  |
|  | - Mark number. |  |  |  |  |  |  |  |  |
|  | - Slump (in). |  |  |  |  |  |  |  |  |
|  | - Air content (%). |  |  |  |  |  |  |  |  |
|  | - Temperature (F). |  |  |  |  |  |  |  |  |
|  | - Weight (lbs./cu-ft). |  |  |  |  |  |  |  |  |
|  | - Location of pour. |  |  |  |  |  |  |  |  |
|  | - Total pour (yds). |  |  |  |  |  |  |  |  |
|  | - Verification & sign-off from architect and or engineer. |  |  |  |  |  |  |  |  |
|  | - Comments. |  |  |  |  |  |  |  |  |
|  | Inspection of structural concrete construction includes at a minimum compressive strength tests by a licensed concrete testing laboratory assuring proper collection, storage, transportation, and analysis. |  |  |  |  |  |  |  |  |
| Reinforced Masonry | Prefabricated unit fabrication process is inspected to verify compliance w/ approved drawings and specifications. Inspections include but are not limited to: |  |  |  |  |  |  |  |  |
|  | - Placement and bedding of units. |  |  |  |  |  |  |  |  |
|  | - Sizes of members. |  |  |  |  |  |  |  |  |
|  | - Sizes of column. |  |  |  |  |  |  |  |  |
|  | - Thickness of walls. |  |  |  |  |  |  |  |  |
|  | - Provisions for curing. |  |  |  |  |  |  |  |  |
|  | - Size and position of reinforcement. |  |  |  |  |  |  |  |  |
|  | - Protection from freezing. |  |  |  |  |  |  |  |  |
|  | - All punch list items, and inspection report deficiencies addressed and corrected to the satisfaction of the inspection agency and/or manufacturer? |  |  |  |  |  |  |  |  |

|  | Inspection Criteria |  |  |  | Responsible Party(ies) |  |  | Inspected by |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Inspection/Test Category | Description | Yes | No | N/A | Installation Contractor | Contracted with | Comments/Notes | Initial | Date |
| Masonry Unit Inspection | Inspections are conducted to verify compliance w/ approved drawings and specifications and include but are not limited to: |  |  |  |  |  |  |  |  |
|  | - Masonry units clearly identified showing grade and compressive strength as per approved shop drawings and specs? |  |  |  |  |  |  |  |  |
|  | - Masonry units are inspected for quality. |  |  |  |  |  |  |  |  |
|  | - Water accumulation prevented in cells during masonry wall construction. |  |  |  |  |  |  |  |  |
|  | - Wall reinforcement assessment conducted. |  |  |  |  |  |  |  |  |
|  | - Temporary wall bracing, as required. |  |  |  |  |  |  |  |  |
|  | - Metal anchors and ties. |  |  |  |  |  |  |  |  |
|  | - Need and location of weep holes. |  |  |  |  |  |  |  |  |
|  | - All punch list items, and inspection report deficiencies addressed and corrected to the satisfaction of the inspection agency and/or manufacturer? |  |  |  |  |  |  |  |  |
| Mortar & Grout | Suppliers submit affidavit certifying required ingredients have been included. Certification verified and inspection includes but is not limited to: |  |  |  |  |  |  |  |  |
|  | - Compressive strength. |  |  |  |  |  |  |  |  |
|  | - Proper storage. |  |  |  |  |  |  |  |  |
|  | - Clean and potable water. |  |  |  |  |  |  |  |  |
|  | - Proper composition. |  |  |  |  |  |  |  |  |
|  | - Mixing. |  |  |  |  |  |  |  |  |
|  | - Curing. |  |  |  |  |  |  |  |  |
|  | - Application. |  |  |  |  |  |  |  |  |
| Formwork Inspections | Inspection of formwork to verify compliance with approved drawings and specifications is completed and includes but is not limited to: |  |  |  |  |  |  |  |  |
|  | - Formwork. |  |  |  |  |  |  |  |  |
|  | - Braces. |  |  |  |  |  |  |  |  |
|  | - Rods. |  |  |  |  |  |  |  |  |
|  | - Walers. |  |  |  |  |  |  |  |  |
|  | - Shores, reshores to include compliance w/ approved drawings and specs. |  |  |  |  |  |  |  |  |
|  | - Stakes. |  |  |  |  |  |  |  |  |
|  | - Clamps. |  |  |  |  |  |  |  |  |
|  | - Plates. |  |  |  |  |  |  |  |  |
|  | - Kickers. |  |  |  |  |  |  |  |  |
|  | - Brackets. |  |  |  |  |  |  |  |  |
|  | - Wire ties. |  |  |  |  |  |  |  |  |
|  | - Wedge bolts. |  |  |  |  |  |  |  |  |
|  | - Strongbacks. |  |  |  |  |  |  |  |  |
|  | - Expansion/control joints. |  |  |  |  |  |  |  |  |
|  | - Rebar/formwork clearance. |  |  |  |  |  |  |  |  |
|  | - Verify size of support/members to specification. |  |  |  |  |  |  |  |  |

|  | Inspection Criteria |  |  |  | Responsible Party(ies) |  |  | Inspected by |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Inspection/Test Category | Description | Yes | No | N/A | Installation Contractor | Contracted with | Comments/Notes | Initial | Date |
| Rebar / Reinforcement | All installed vertical/horizontal rebar is inspected to verify compliance & placement w/ approved drawing and specifications. This includes but is not limited to: |  |  |  |  |  |  |  |  |
|  | - At a minimum, reinforcement bars, rolls of wire, strands or welded wire fabric are identified and tagged to identify type, grade of steel and size. |  |  |  |  |  |  |  |  |
|  | - Reinforcing materials & supports. |  |  |  |  |  |  |  |  |
|  | - Dowels. |  |  |  |  |  |  |  |  |
|  | - Templates. |  |  |  |  |  |  |  |  |
|  | - Wire ties. |  |  |  |  |  |  |  |  |
|  | - Tiebacks. |  |  |  |  |  |  |  |  |
|  | - Inspections before pour. |  |  |  |  |  |  |  |  |
|  | - Inspections after pour. |  |  |  |  |  |  |  |  |
|  | - Placed in compliance w/approved specifications and shop drawings. |  |  |  |  |  |  |  |  |
| Slab-On-Grade Inspection | Pre-slab inspections are conducted to verify compliance w/ approved drawings and specifications and include but not limited to: |  |  |  |  |  |  |  |  |
|  | - Proper laps and clearance. |  |  |  |  |  |  |  |  |
|  | - Sealing and testing of vapor barriers. |  |  |  |  |  |  |  |  |
|  | - Proper pitch of plumbing and drains. |  |  |  |  |  |  |  |  |
|  | Final slab inspections are conducted to verify compliance w/ approved drawings and specifications and include but not limited to: |  |  |  |  |  |  |  |  |
|  | - Proper grout. |  |  |  |  |  |  |  |  |
|  | - Properly floated. |  |  |  |  |  |  |  |  |
|  | - Construction/control joints. |  |  |  |  |  |  |  |  |
|  | - Correct saddle locations. |  |  |  |  |  |  |  |  |
|  | - Expansion joint material. |  |  |  |  |  |  |  |  |
|  | - Final slab inspections. |  |  |  |  |  |  |  |  |
| Plumbing | - Subsurface plumbing inspected to verify compliance w/ approved drawings and specs prior to backfilling or pouring of slab. |  |  |  |  |  |  |  |  |
| Footings/Steel Columns | - Steel erector has been notified when footings, piers or walls have obtained 75% of design strength. |  |  |  |  |  |  |  |  |
| Column Anchor Bolts | Inspections are conducted to verify compliance w/ approved drawings and specifications and include but are not limited to: |  |  |  |  |  |  |  |  |
|  | - Verify all design, repairs and modifications are approved by the structural engineer of record. |  |  |  |  |  |  |  |  |
|  | - Greasing of threads. |  |  |  |  |  |  |  |  |
|  | - Leveling plate. |  |  |  |  |  |  |  |  |
|  | - Nuts. |  |  |  |  |  |  |  |  |
|  | - Curing of grout. |  |  |  |  |  |  |  |  |
|  | - Proper application. |  |  |  |  |  |  |  |  |

|  | Inspection Criteria |  |  |  | Responsible Party(ies) |  |  | Inspected by |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Inspection/Test Category | Description | Yes | No | N/A | Installation Contractor | Contracted with | Comments/Notes | Initial | Date |
| Waterproofing / Drain Systems | Inspections are conducted to verify compliance w/ approved drawings and specifications and include but are not limited to: |  |  |  |  |  |  |  |  |
|  | - Assess key construction operations such as foundation walls, basement walls, and retaining walls to verify if waterproofing and/or vapor barriers are required on any structure. |  |  |  |  |  |  |  |  |
|  | - Waterproofing installers are approved by the manufacturer of the system. |  |  |  |  |  |  |  |  |
|  | - Inspection after rainfall. |  |  |  |  |  |  |  |  |
|  | - Proper porosity. |  |  |  |  |  |  |  |  |
|  | - Slope of backfill. |  |  |  |  |  |  |  |  |
|  | - Weep holes. |  |  |  |  |  |  |  |  |
|  | - Underdrain pipes. |  |  |  |  |  |  |  |  |
|  | - Protective wall membranes. |  |  |  |  |  |  |  |  |
|  | - Water stops. |  |  |  |  |  |  |  |  |
|  | - Operation of sump pumps. |  |  |  |  |  |  |  |  |
| Vapor Barriers | Vapor barrier inspections are conducted to verify compliance w/ approved drawings and specifications. Inspections are conducted and include but are not limited to: |  |  |  |  |  |  |  |  |
|  | - Proper application. |  |  |  |  |  |  |  |  |
|  | - Adhesive sealants. |  |  |  |  |  |  |  |  |
|  | - Trained installers. |  |  |  |  |  |  |  |  |
|  | - Sealing of penetrations. |  |  |  |  |  |  |  |  |
|  | - Protection from damage during installation. |  |  |  |  |  |  |  |  |
|  | - Techniques to join barrier sections. |  |  |  |  |  |  |  |  |
|  | - Temperature during application. |  |  |  |  |  |  |  |  |
|  | - Curing requirements during application. |  |  |  |  |  |  |  |  |
|  | - Overlap requirements. |  |  |  |  |  |  |  |  |
|  | - Moisture requirements during application. |  |  |  |  |  |  |  |  |
|  | - Time between coats. |  |  |  |  |  |  |  |  |

|  | Inspection Criteria |  |  |  | Responsible Party(ies) |  |  | Inspected by |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Inspection/Test Category | Description | Yes | No | N/A | Installation Contractor | Contracted with | Comments/Notes | Initial | Date |
| Manufacturer Information | Verify manufacturer and building information is delivered to the owner in writing. These items include but are not limited to: |  |  |  |  |  |  |  |  |
|  | - Construction documents such as drawings, specifications, and blueprints. |  |  |  |  |  |  |  |  |
|  | - Warranty information. |  |  |  |  |  |  |  |  |
|  | - Safety instructions and requirements. |  |  |  |  |  |  |  |  |
|  | - Start up and operation instructions and procedures. |  |  |  |  |  |  |  |  |
|  | - Maintenance and service instructions. |  |  |  |  |  |  |  |  |
|  | - Installation design plans. |  |  |  |  |  |  |  |  |
|  | - Training for owners, maintenance staff, etc. |  |  |  |  |  |  |  |  |
|  | - Any training products and resources. |  |  |  |  |  |  |  |  |
|  | - Location of utilities and structures. |  |  |  |  |  |  |  |  |
|  | - Identification/labeling of controls, piping or other. |  |  |  |  |  |  |  |  |
|  | - All punch list items, and inspection report deficiencies addressed and corrected to the satisfaction of the inspection agency and/or manufacturer? |  |  |  |  |  |  |  |  |
| ADD |  |  |  |  |  |  |  |  |  |
| ADD |  |  |  |  |  |  |  |  |  |

VERIFICATION STATEMENT I verify that to the best of my knowledge, the inspections and/or tests set out in this installation and verification record were completed by the responsible party shown, that any recommended corrections were made, and that any reports accompanying these inspections/tests were received for review, file and sign off and (if required) PE/RE stamps.

Name (please print in full)

Initials Date

Chubb is the marketing name used to refer to subsidiaries of Chubb Limited providing insurance and related services. For a list of these subsidiaries, please visit our website at www.chubb.com. Insurance provided by ACE American Insurance Company and its U.S. based Chubb underwriting company affiliates.  This document is advisory in nature and is offered for informational purposes only as a resource to be used together with your professional insurance advisors in maintaining a loss prevention program. The information contained in this document is not intended as a substitute for legal, technical, or other professional advice, nor is it intended to supplant any duty to provide a safe workspace, operation, product, or premises. No liabilities or warranties are assumed or provided by the information contained in this document. Chubb, 202 Hall's Mill Road, Whitehouse Station, NJ 08889-1600.